**SUMMARY**

The 34 outfalls listed on the ORI report were investigated on 6/29/2022 and 6/30/2022. This list includes the additional outfalls included last year from the recent acquisition of property to the University.

Of those new outfall locations acquired last year, many were determined to be simply gutter flow from the roofs to the street. Some of the new sites have inlets and pipe networks that carry the flow into the Radford City system, while others are a combination. There has been no overall changes to those systems this year.

Previous flow testing had revealed that the Fitness Center, Science and Humanities HVAC system discharges into the existing storm drainage system. This accounts for the various levels of ammonia detected at times from the units as the flow is monitored. Not every year the flow is detected but each time it is found, the flow is located at the same areas on campus.

This year no traces were detected from any flows coming from the Fitness Center or Humanities buildings. Flow was detected at the Science Building and recorded in flow from EM-2.

Significant rainfall events in previous years have caused the RU staff to focus on damage along the riverbanks instead of normal maintenance tasks. Locations around RU-NR-2 was significantly hit and damaged last year. Last year many of the repairs have been completed to restore the outfall areas and banks of the river. These areas will be continuously monitored throughout the coming year. This year, no signs of damage were observed at the outfall locations.

The university continues working on preliminary plans for a possible river work project that will help stabilize the entire area.

**MAP CHANGES**

**None this year. The new ADS system for the CAIC facility is anticipated to be online within the 2024 year.**

**FLOW TESTS**

**RU-BU-2** stream flow tested with no indicators of illicit discharge.

**RU-NR-1** stream flow tested with no indicators of illicit discharge.

**RU-NR-5** stream flow tested with no indicators of illicit discharge.

**RU-NR-7** stream flow tested with no indicators of illicit discharge.

**RU-EM-2** Flow tests indicated no levels of Ammonia. Flow traced through campus to roofdrains at the Science Building. Had Ammonia in previous years.

**MAINTENANCE CONCERNS (On Radford University Property)**

**RU-AF-1, RU-NR-2, RU-EM-6, RU-TY-1, RU-NR-6, RU-NR- 4.5, RU-NS 5, Cleanup/debris**

**MAINTENANCE CONCERNS (Outfall on City Property, Contact Radford City)**

**RU-NR-9, Maintenance/recommend Riprap**

**RU-EM-5, RU-NR-10, RU-JE-1, Cleanup/debris**

**INVESTIGATION NEEDED (More information needed on outfall and drainage basin)**

**RU-CA-2**

**Note all outfalls flows will ultimately be conveyed to the New River.  Since 2010, DEQ has generated several ambient water column and sediment PCB data in support of total maximum daily loads (TMDLs) for PCB polychlorinated biphenyls (PCBs) in the New River.**

**Outfall watersheds should be monitored for sediment and chemical discharges that could increase the TMDL.  Any possible sources should be investigated prior to an illicit discharge event.**

**A DEQ Draft Report dated 2017 is available for details on specific sources of PCBs**